## BOM
Template: Bill of Materials
Manufacturer | Item | Part Number | Description | Quantity
Donor Antenna
ADRF | Antenna | AD-PA-1900-2600-DIN-X | High Isolation PCS/AWS/WCS/BRS Donor Antenna (1710~2690 MHz, DIN Connector)
ADRF | Antenna | AD-PA-700-900-DIN-X | High Isolation 700 MHz/Cell/SMR Donor Antenna (698~940 MHz, DIN Connector)
ADRF | Antenna | AD-PA-1695-4200-D | High Isolation PCS/AWS/WCS/BRS/C-Band Donor Antenna (1695~4200 MHz, DIN Connectors)
ADRF | Antenna | AD-PA-617-960-D | High Isolation 600 MHz /700 MHz/Cell/SMR Donor Antenna (617~960 MHz, DIN Connector)
Comprod | Antenna | 430-70 | UHF Yagi Antenna 406-512 MHz, N Male
Comprod | Antenna | 295-70 | VHF Yagi Antenna 138-174 MHz, N Male
Polyphaser | Lightning Protector | TSX-NFF | 698-2700 MHz Lightning DC Blocked Filter Protectors - N Female Connectors
Polyphaser | Lightning Protector | IS-50NX-C2 | 125-1000 MHz Lightning DC Blocked Filter Protectors - N Female Connectors
RFS | Weather Proofing Kit | WPFG-1 | Weather Proofing Kit (with Butyl Rubber)
RFS | Coax Grounding Kit | GKFORM60-12 | Grounding Kit, Pre-formed Copper Strap, 1.5m (60") for 1/2" Cable
Rohn | Donor Antenna | FRM238SP5 | Light Duty Non-Penetrating Roof Mount 60"x2.38" , Flat Roof Mount, 2" Diameter Mast Size
Rohn | Donor Antenna | ROH-FRMMAT | 42.5" X 36" x 1/8" Thick Rubber Mat
Rohn | Donor Antenna | WM18D | Extended Wall Mount Assembly (18" Clearance)
Rohn | Donor Antenna | FY205SP | Mast Hot-Dip Galvanized, Calibre 14, 2.25" (Diameter), 5' (Height)
Commercial Signal Source
ADRF | Repeater | SDR-NMS | Includes Chassis, Network Management System, Accessories, and Wall Mounting Bracket
ADRF | Repeater | SDR-24-700F | 700 MHz RF Module (90 dB Max Gain, 24 dBm Output Power) Supports Lower ABC and Upper C
ADRF | Repeater | SDR-24-C | Cellular RF Module (90 dB Max Gain, 24 dBm Output Power)
ADRF | Repeater | SDR-24-S | SMR800/900 RF Module (80 dB Gain, 24 dBm Output Power)
ADRF | Repeater | SDR-24-P | PCS RF Module (90 dB Max Gain, 24 dBm Output Power)
ADRF | Repeater | SDR-24-AF | AWS-1 + AWS-3 RF Module (90 dB Max Gain, 24 dBm Output Power)
ADRF | Repeater | SDR-30-600 | 600 MHz RF Module (90 dB Max Gain, 30 dBm Output Power)
ADRF | Repeater | SDR-30-700F | 700 MHz RF Module (90 dB Max Gain, 30 dBm Output Power) Supports Lower ABC and Upper C
ADRF | Repeater | SDR-30-C | Cellular RF Module (90 dB Max Gain, 30 dBm Output Power)
ADRF | Repeater | SDR-30-S | SMR800/900 RF Module (80 dB Gain, 30 dBm Output Power)
ADRF | Repeater | SDR-30-P | PCS RF Module (90 dB Max Gain, 30 dBm Output Power)
ADRF | Repeater | SDR-30-AF | AWS-1 + AWS-3 RF Module (95 dB Max Gain, 30 dBm Output Power)
ADRF | Repeater | SDR-33-700F | 700 MHz RF Module (95 dB Max Gain, 33 dBm Output Power) Supports Lower ABC and Upper C
ADRF | Repeater | SDR-33-C | Cellular RF Module (95 dB Max Gain, 33 dBm Output Power)
ADRF | Repeater | SDR-33-S | SMR800/900 RF Module (80 dB Max Gain, 33 dBm Output Power)
ADRF | Repeater | SDR-33-P | PCS RF Module (95 dB Max Gain, 33 dBm Output Power)
ADRF | Repeater | SDR-33-AF | AWS-1 + AWS-3 RF Module (95 dB Max Gain, 33 dBm Output Power)
ADRF | Repeater | SDR-33-BTF | BRS TDD RF Module (95 dB Max Gain, 33 dBm Output Power), Supports 5G NR/LTE Full Band
ADRF | Repeater | SDR-33-B | BRS FDD RF Module (95 dB Max Gain, 33 dBm Output Power), Supports FDD-LTE Technology
ADRF | Repeater | SDR-CHC-V | Optional Channel Combiner for 700 MHz, Cell, PCS, and AWS-1
ADRF | Repeater | SDR-CHC-S | Optional Channel Combiner for SMR 800/900 MHz, PCS, and BRS
ADRF | Repeater | ADXV-R-CHC-U | Universal Channel Combiner (700MHz, SMR800MHz + Cellular, PCS, AWS, WCS, BRS)
ADRF | Repeater | SDR-BRACKET | Standalone Mounting BRACKET For SDR Module
ADRF | Repeater | RMK-SDR | 19" Rack Mount Bracket For SDR Module (Includes SDR-BRACKET)
ADRF | Repeater | SDR-ICS-CHA | High Power Outdoor Repeater 19" Rack Mount Chassis, Supports Up to 4 SDR-ICS Modules
ADRF | Repeater | SDR-ICS-WMK | Wall Mount Kit for Single SDR-ICS Module
ADRF | Repeater | SDR-ICS-ENC-2 | High Power Outdoor Repeater Enclosure, Supports Up to 2 SDR-ICS Modules + 1 SDR-ICS-CHC
ADRF | Repeater | SDR-ICS-ENC-4 | High Power Outdoor Repeater Enclosure, Supports Up to 4 SDR-ICS Modules + 2 SDR-ICS-CHC
ADRF | Repeater | SDR-ICS-43-6 | High Power Outdoor Repeater Module 600 MHz (43dBm)
ADRF | Repeater | SDR-ICS-43-7FN | High Power Outdoor Repeater Module 700MHz Band 14 (43dBm)
ADRF | Repeater | SDR-ICS-43-7L | High Power Outdoor Repeater Module 700MHz Lower A/B/C (43dBm)
ADRF | Repeater | SDR-ICS-43-7U | High Power Outdoor Repeater Module 700MHz Upper C (43dBm)
ADRF | Repeater | SDR-ICS-43-S8C | High Power Outdoor Repeater Module SMR800MHz (Commercial) + Cellular (43dBm)
ADRF | Repeater | SDR-ICS-43-P | High Power Outdoor Repeater Module PCS (43dBm)
ADRF | Repeater | SDR-ICS-43-A | High Power Outdoor Repeater Module AWS (43dBm)
ADRF | Repeater | SDR-ICS-43-W | High Power Outdoor Repeater Module WCS (43dBm)
ADRF | Repeater | SDR-ICS-43-BT | High Power Outdoor Repeater Module BRS TDD (43dBm)
ADRF | Repeater | SDRX-43-BTF | High Power Outdoor Repeater Module BRS TDD (43dBm) Full Band, No ICS
ADRF | Repeater | SDR-ICS-CHC | SDR-ICS Universal Channel Combiner (700MHz, SMR800MHz + Cellular, PCS, AWS, WCS, BRS)
ADRF | Repeater | SDR-ICS-MOD | Internal Modem Module for SDR-ICS Module
Publlic Safety Signal Source
ADRF | Repeater | PSR-78-8527-PKG | Digital Dual-Band (700/800 MHz) Public Safety 0.5W Repeater
ADRF | Repeater | PSR-78-9533-X | Digital Dual-Band (700/800 MHz) Public Safety 2W Repeater (Channelized)
ADRF | Repeater | PSR-78-9537-X | Digital Dual-Band (700/800 MHz) Public Safety 5W Repeater (Channelized)
ADRF | Repeater | PSR-78-9533-U | Digital Dual-Band (700/800 MHz) Public Safety 2W Repeater (Channelized), UL 2524
ADRF | Repeater | PSR-78-9537-U | Digital Dual-Band (700/800 MHz) Public Safety 5W Repeater (Channelized), UL 2524
ADRF | Repeater + Head End | FiRe-78-4 | Digital Dual-Band (700/800 MHz) Public Safety Fiber Repeater (Channelized, 4 Remotes)
ADRF | Head End | FiRe-AAI | FiRe Dry Contact Auxiliary Alarm Interface Module for remote monitoring at HE (supports 4 RU)
ADRF | Repeater + Head End | FiRe-78-8-U | Digital Dual-Band (700/800 MHz) Public Safety Fiber Repeater (Channelized, 8 Remotes, UL2524)
ADRF | Repeater + Head End | FiRe-OEU-U | FiRe Optical Expansion Unit (supports 8 Remote Units)
ADRF | Repeater | PSR-VU-9537-X | Digital Dual-Band (VHF/UHF) Public Safety Repeater
ADRF | Repeater | PSR-VU-9537-U | Digital Dual-Band (VHF/UHF) Simplex Public Safety Repeater, UL 2524
ADRF | Repeater | PSR-U-9537-U | Digital Dual-Band (UHF Only) Public Safety Repeater, UL 2524
ADRF | Multiplexer | ADRF-MPLX-U-1 | DL: 382~512MHz / UL 382~512MHz / IP50 / 4.5~10MHz (4~6 week lead time)
ADRF | Multiplexer | ADRF-MPLX-U-2 | DL: 382~512MHz / UL 382~512MHz / IP50 / 2.7~4.5MHz (4~6 week lead time)
ADRF | Multiplexer | ADRF-MPLX-U-3 | DL: 382~512MHz / UL 382~512MHz / IP50 / 1.2~2.75MHz (4~6 week lead time)
ADRF | Multiplexer | ADRF-MPLX-U-4 | DL: 382~512MHz / UL 382~512MHz / IP66 / 4.5~10MHz (4~6 week lead time)
ADRF | Multiplexer | ADRF-MPLX-U-5 | DL: 382~512MHz / UL 382~512MHz / IP66 / 2.7~4.5MHz (4~6 week lead time)
ADRF | Multiplexer | ADRF-MPLX-U-6 | DL: 382~512MHz / UL 382~512MHz / IP66 / 1.2~2.75MHz (4~6 week lead time)
ADRF | Repeater | PSR-EPO | PSR Emergency Power Off Switch
ADRF | Repeater | PSR-EPO-ENC | PSR Emergency Power Off Switch + Enclosure, Conduit Connections
ADRF | Repeater | PSR-ANN-CBL-10 | Public Safety Repeater Annunciator Cable, 10 feet
ADRF | Repeater | PSR-ANN-CBL-20 | Public Safety Repeater Annunciator Cable, 20 feet
ADRF | Repeater | PSR-ANN-CBL-33 | Public Safety Repeater Annunciator Cable, 33 feet
ADRF | Repeater | PSR-ANN-CBL-66 | Public Safety Repeater Annunciator Cable, 66 feet
ADRF | Repeater | PSR-ANN-U-CBL-10 | Public Safety Repeater Annunciator Cable, 10 feet, UL 2524
ADRF | Repeater | PSR-ANN-U-CBL-20 | Public Safety Repeater Annunciator Cable, 20 feet, UL 2524
ADRF | Repeater | PSR-ANN-U-CBL-33 | Public Safety Repeater Annunciator Cable, 33 feet, UL 2524
ADRF | Head End | FiRe-78-RMK | Repeater Rack Mount for FiRe-78-4 or PSR-78-9533-X
ADRF | Repeater | PSR-VU-RMK | Repeater Rack Mount for PSR-VU-9537-X or PSR-78-9537-X
ADX V DAS
ADRF | Head End | ADXV-H-NMS-AC | ADX V DAS Head End Chassis + Network Management System + AC Power Supply Unit
ADRF | Head End | ADXV-H-NMS-DC | ADX V DAS Head End Chassis + Network Management System + DC Power Supply Unit
ADRF | Head End | ADXV-H-NMS-SGS1 | ADX V DAS Head End Chassis Safety Guard (Custom)
ADRF | Head End | ADXV-H-RACK | ADXV DAS Head End 19" 1U Rack Supporting Up to 2 ODU, CHC-88, or CHC-44M
ADRF | Head End | ADXV-H-NMS-WMK | ADX V DAS Head End Chassis Wall Mount Kit
ADRF | Head End | ADXV-H-ODU-4 | ADX V DAS Head End Optical Donor Unit Module (4 Ports)
ADRF | Head End | ADXV-H-ODU-4-X | ADX V DAS Head End Optical Donor Unit Module (4 Ports) Supports C-Band
ADRF | Head End | ADXV-H-ODU-1 | ADX V DAS Head End Optical Donor Unit Module (1 Port)
ADRF | Head End | ADXV-H-POI-6 | ADX V DAS Head End Point of Interface Module 600 MHz (0-48dBm)
ADRF | Head End | ADXV-H-POI-7L | ADX V DAS Head End Point Of Interface Module 700MHz Lower A/B/C (0-48dBm)
ADRF | Head End | ADXV-H-POI-7U | ADX V DAS Head End Point Of Interface Module 700MHz Upper C + Band 14 (0-48dBm)
ADRF | Head End | ADXV-H-POI-7APT | ADX V DAS Head End Point Of Interface Module 700MHz APT (0-48dBm)
ADRF | Head End | ADXV-H-POI-S8C | ADX V DAS Head End Point Of Interface Module SMR800MHz (Commercial) + Cellular (0-48dBm)
ADRF | Head End | ADXV-H-POI-P | ADX V DAS Head End Point Of Interface Module PCS (0-48dBm)
ADRF | Head End | ADXV-H-POI-A | ADX V DAS Head End Point Of Interface Module AWS-1 + AWS-3 (0-48dBm)
ADRF | Head End | ADXV-H-POI-W | ADX V DAS Head End Point Of Interface Module WCS (0-48dBm)
ADRF | Head End | ADXV-H-POI-BTF | ADX V DAS Head End Point Of Interface Module BRS (TD-LTE / 5G NR) (0-48dBm)
ADRF | Head End | ADXV-H-POI-N77L | ADX V DAS Head End Point Of Interface Module C-Band (3450-3550 MHz) (0-48dBm)
ADRF | Head End | ADXV-H-POI-N77H | ADX V DAS Head End Point Of Interface Module C-Band (3700-3980 MHz) (0-48dBm)
ADRF | Head End | ADXV-H-POIL-B | ADX V DAS Head End Point of Interface Module BRS (FDD-LTE) (0-25dBm)
ADRF | Head End | ADXV-H-POIL-78P | ADX V DAS Head End 700MHz/800MHz Dual Band Point of Interface (Public Safety)
ADRF | Head End | ADXV-H-POIL-S8 | ADX V DAS Head End Point Of Interface Module 800MHz
ADRF | Head End | ADXV-H-POIL-9P | ADX V DAS Head End Point Of Interface Module 900MHz (including Paging)
ADRF | Head End | ADXV-H-POIL-VU | ADX V DAS Head End VHF/UHF Dual Band Point of Interface
ADRF | Head End | ADXV-H-CHC-88-DL | ADX V DAS Head End Channel Combiner Module for Downlink (8 Inputs + 8 Outputs)
ADRF | Head End | ADXV-H-CHC-88-UL | ADX V DAS Head End Channel Combiner Module for Uplink (8 Inputs + 8 Outputs)
ADRF | Head End | ADXV-H-CHC-88-DL-X | ADX V DAS Head End Channel Combiner Module for DL (8 Inputs + 8 Outputs) Supports C-Band
ADRF | Head End | ADXV-H-CHC-88-UL-X | ADX V DAS Head End Channel Combiner Module for UL (8 Inputs + 8 Outputs) Supports C-Band
ADRF | Head End | ADXV-H-CHC-168-DL | ADX V DAS Head End Channel Combiner Module for Downlink (16 Inputs + 8 Outputs)
ADRF | Head End | ADXV-H-CHC-168-UL | ADX V DAS Head End Channel Combiner Module for Uplink (16 Inputs + 8 Outputs)
ADRF | Head End | ADXV-H-CHC-168-DL-X | ADX V DAS Head End Channel Combiner Module for DL (16 Inputs + 8 Outputs) Supports C-Band
ADRF | Head End | ADXV-H-CHC-168-UL-X | ADX V DAS Head End Channel Combiner Module for UL (16 Inputs + 8 Outputs) Supports C-Band
ADRF | Remote Module | ADXV-R-CHA | ADX V DAS Remote Unit Chassis (supports 7 RU Modules) (rack or wall mountable)
ADRF | Remote Module | ADXV-R-CHA-SG | ADX V DAS Remote Unit Chassis Safety Guard (Custom)
ADRF | Remote Module | ADXV-R-CHA-SGS1 | ADX V DAS Remote Unit Chassis Safety Guard (Custom)
ADRF | Remote Module | ADXV-R-CHA-3 | ADX V DAS Remote Unit Chassis (supports 3 RU Modules) (rack or wall mountable)
ADRF | Remote Module | ADXV-R-RACK | ADX V DAS Mid Power Remote Unit Expansion Rack
ADRF | Remote Module | ADXV-R-PSU-AC | ADX V DAS Remote Unit AC Power Supply Unit Module
ADRF | Remote Module | ADXV-R-PSU-DC | ADX V DAS Remote Unit DC Power Supply Unit Module
ADRF | Remote Module | ADXV-R-CBL-12S | ADX V DAS Remote Unit 1:2 Power Supply Cable
ADRF | Remote Module | ADXV-R-ORU | ADX V DAS Remote Unit Optical Remote Unit Module
ADRF | Remote Module | ADXV-R-ORU-X | ADX V DAS Remote Unit Optical Remote Unit Module (Supports C-Band)
ADRF | Remote Module | ADXV-R-336 | ADX V DAS Remote Unit 600 MHz 33dBm Amplifier Module
ADRF | Remote Module | ADXV-R-337FN | ADX V DAS Remote Unit 700MHz Lower A/B/C + Upper C + Band 14 33dBm Amplifier Module
ADRF | Remote Module | ADXV-R-337APT | ADX V DAS Remote Unit 700MHz APT 33dBm Amplifier Module
ADRF | Remote Module | ADXV-R-337F | ADX V DAS Remote Unit 700MHz Lower A/B/C + Upper C 33dBm Amplifier Module
ADRF | Remote Module | ADXV-R-33S8 | ADX V DAS Remote Unit SMR800MHz Cellular 33dBm Amplifier Module
ADRF | Remote Module | ADXV-R-33S8C | ADX V DAS Remote Unit SMR800MHz (Commercial) + Cellular 33dBm Amplifier Module
ADRF | Remote Module | ADXV-R-339P | ADX V DAS Remote Unit 900MHz (including Paging) 33dBm Amplifier Module
ADRF | Remote Module | ADXV-R-37P | ADX V DAS Remote Unit PCS 37dBm Amplifier Module
ADRF | Remote Module | ADXV-R-37A | ADX V DAS Remote Unit AWS-1 + AWS-3 37dBm Amplifier Module
ADRF | Remote Module | ADXV-R-37W | ADX V DAS Remote Unit WCS 37dBm Amplifier Module
ADRF | Remote Module | ADXV-R-33BTF | ADX V DAS Remote Unit BRS TDD 33dBm Amplifier Module, 194 MHz Bandwidth Support
ADRF | Remote Module | ADXV-R-37B | ADX V DAS Remote Unit BRS FDD 37dBm Amplifier Module
ADRF | Remote Module | ADXV-R-37N77L | ADX V DAS Remote Unit 5W C-Band Amplifier Module (3450-3550 MHz)
ADRF | Remote Module | ADXV-R-37N77H | ADX V DAS Remote Unit 5W C-Band Amplifier Module (3700-3980 MHz)
ADRF | Remote Module | ADXV-R-FAN-DC | Fan for Remote Unit Chassis
ADRF | Remote Module | ADXV-R-CHC-U | ADX V DAS Universal Channel Combiner (700MHz, SMR800MHz + Cellular, PCS, AWS, WCS, BRS)
ADRF | Remote Module | ADXV-R-CHC-X2 | ADX V DAS Universal Channel Combiner (600MHz, 700MHz, S8C, PCS, AWS, WCS, BRS, C-Band)
ADRF | Remote Module | ADXV-HPR-CHC-U | ADX V DAS HPR Universal Channel Combiner (700MHz, S8C, PCS, AWS, WCS, BRS)
ADRF | Remote Module | ADXV-HPR-CHC-X | ADX V DAS HPR Universal Channel Combiner (600 MHz, 700MHz, S8C, PCS, AWS, WCS, BRS, CBRS)
ADRF | Remote Module | ADXV-HPR-CHC-U-LH | ADX V DAS HPR Universal Channel Combiner (700MHz, S8C, PCS, AWS, WCS, BRS, Low+High Ports)
ADRF | Remote Module | ADXV-HPR-CHA | ADX V DAS High Power Remote Chassis (supports 6 HPR Modules) (rack or wall mountable)
ADRF | Remote Module | ADXV-HPR-CHA-SG | ADX V DAS High Power Remote Chassis Safety Guard
ADRF | Remote Module | ADXV-HPR-CHA-SGS1 | ADX V DAS High Power Remote Chassis Safety Guard (Custom)
ADRF | Remote Module | ADXV-HPR-RACK | ADX V DAS High Power Remote Unit Expansion Rack
ADRF | Remote Module | ADXV-HPR-PMK | ADX V DAS High Power Remote Pole Mount Kit (supports 8 HPR Modules)
ADRF | Remote Module | ADXV-HPR-PSU-AC | ADX V DAS High Power Remote AC Power Supply Unit Module
ADRF | Remote Module | ADXV-HPR-PSU-AC-50 | ADX V DAS High Power Remote AC Power Supply Unit Module (50V Output for C-Band Modules)
ADRF | Remote Module | ADXV-HPR-PSU-DC | ADX V DAS High Power Remote DC Power Supply Unit Module
ADRF | Remote Module | ADXV-HPR-PSU-DC-50 | ADX V DAS High Power Remote DC Power Supply Unit Module (50V Output for C-Band Modules)
ADRF | Remote Module | ADXV-HPR-CBL-13S | ADX V DAS High Power Remote 1:3 High Power Remote Power Supply SISO Cable
ADRF | Remote Module | ADXV-HPR-ORU | ADX V DAS High Power Remote Optical Remote Unit Module
ADRF | Remote Module | ADXV-HPR-ORU-X | ADX V DAS High Power Remote Optical Remote Unit Module (Supports C-Band)
ADRF | Remote Module | ADXV-HPR-436 | ADX V DAS High Power Remote 600 MHz 43dBm Amplifier Module
ADRF | Remote Module | ADXV-HPR-437FN | ADX V DAS High Power Remote 700MHz Lower ABC + Upper C + Band 14 43dBm Amplifier Module
ADRF | Remote Module | ADXV-HPR-437F | ADX V DAS High Power Remote 700MHz Lower A/B/C + Upper C 43dBm Amplifier Module
ADRF | Remote Module | ADXV-HPR-43S8C | ADX V DAS High Power Remote SMR800MHz (Commercial) + Cellular 43dBm Amplifier Module
ADRF | Remote Module | ADXV-HPR-46P | ADX V DAS High Power Remote PCS 46dBm Amplifier Module
ADRF | Remote Module | ADXV-HPR-46A | ADX V DAS High Power Remote AWS-1 + AWS-3 46dBm Amplifier Module
ADRF | Remote Module | ADXV-HPR-45W | ADX V DAS High Power Remote WCS 45dBm Amplifier Module
ADRF | Remote Module | ADXV-HPR-43BTF | ADX V DAS Remote Unit BRS TDD 43dBm Amplifier Module, 194 MHz Bandwidth Support
ADRF | Remote Module | ADXV-HPR-46N77L | ADX V DAS High Power Remote C-Band 46dBm Amplifier Module (3450-3550 MHz)
ADRF | Remote Module | ADXV-HPR-46N77H | ADX V DAS High Power Remote C-Band 46dBm Amplifier Module (3700-3980 MHz)
ADRF | Coupler | ADRF-DIPX-N77LH-4310 | High Power C-Band Diplexer (Low: 3450~3550 MHz; High: 3700~3980 MHz) (4.3-10 Female)
ADRF | Remote Module | ADXV-R-OEU-8 | ADX V DAS Optical Expansion Unit (supports 8 Remote Units)
ADRF | Remote Module | ADXV-R-OEU-8-X | ADX V DAS Optical Expansion Unit (supports 8 Remote Units) Supports C-Band
ADRF | Remote Module | ADXV-R-ADP | AC/DC Adaptor for Remote Unit
ADRF | Head End | ADXV-H-AAI | ADX V DAS Head End Auxiliary Alarm Interface Module (supports 1 HE / 4 RU / 6 Inputs)
ADRF | Remote Module | ADXV-R-3378P-N4X | ADX V DAS Remote Unit 2W 700MHz/800MHz IP66 Remote Module (Public Safety)
ADRF | Remote Module | ADXV-R-3378P-U | 2W 700MHz/800MHz IP66 Remote Module (Public Safety) UL2524
ADRF | Remote Module | ADXV-R-25VU-N4X | ADX V DAS Remote Unit 25dBm VHF/UHF IP66 Remote Module
ADRF | Remote Module | ADXV-R-N4X-RMK | ADX V DAS Remote Unit Rack Mount Kit
ADRF | Remote Module | ADXV-EF-CHA-N4X | ADX V DAS IP66 enclosure for up to 2 ADXV External Filters
ADRF | Remote Module | ADXV-EF-7F | ADX V DAS Remote Unit External Filter to Support 700 MHz
ADRF | Remote Module | ADXV-EF-S8C | ADX V DAS Remote Unit External Filter to Support SMR800 MHz (Commercial) + Cellular
ADRF | Remote Module | ADXV-BPF-7PS8DL | ADX V DAS Remote Unit Band Pass Filter to Support 700 & 800 MHz Public Safety
ADRF | Remote Module | ADXV-BPF-7PDL | ADX V DAS Remote Unit Band Pass Filter to Support 700 MHz Public Safety
ADRF | Remote Module | ADXV-BPF-S8DL | ADX V DAS Remote Unit Band Pass Filter to Support 800 MHz Public Safety
ADRF | Remote Module | ADXV-MMF-KIT | ADX(V) Kit for Multi-Mode Fiber
Fiber Equipment
FIS | Fiber Cable | S09DI06CZNPYAIA2 | Tight-Buffered Fibers - 6 fiber Single-mode - 1310/1550nm
FIS | Fiber Cable | S09DI12CZNPYAIA2 | Tight-Buffered Fibers - 12 fiber Single-mode - 1310/1550nm
FIS | FOC, Management | F1RM2RU6X | 2RU Rack Mount Enclosure 6 LGX Plates Solid Front Door Black
FIS | FOC, Management | F1SC6IBKAPCUL | SC 6 Pack Black Loaded with APC Adapters
FIS | FOC, Management | SP6SCAPCGR | 6 Fiber 900um SC/APC SM 3m Pigtails w/ Green Boots
FIS | FOC, Management | SP12SCAPCGR | 12 Fiber 900um SC/APC SM 3m Pigtails w/ Green Boots
FIS | FOC, Management | F1-62DW-3 | Wall Mount (10"h x 7"w x 2"d) with 12 port splice tray [12 splices]
FIS | FOC, Management | F1-8701 | SC/APC Duplex SM Mating Sleeve, Green, for 12 Port Splice Box
FIS | Fiber Jumper | D9YAYAS3FISCU | Duplex 3mm SM SC-SC APC Ultra Fiber Patch Cable - 3m
OCC | Fiber Cable | DZ006TSLX9YPI8 | DZ Series Plenum Indoor/Outdoor Aluminum Interlocking Armored SMF - 6F
OCC | FOC, Management | RTS2U-6APB | Cabinet, Rack Mount, RTS, 2U, 6 Adapter Plates, Black
OCC | FOC, Management | 616SCAPC | Adapter Plate, Assembly, SCAPCX6, SM, 6 Port, OCC
OCC | FOC, Management | P8SCAPC06-3M | Pigtail Assembly, 6F, SC-APC, 3m
OCC | FOC, Management | OC012NS | Assembly, Enclosure, Wall Mount, Fiber
OCC | Fiber Jumper | D8SCAPC-SCAPC-3M | Duplex 3mm SM SC-SC APC Fiber Patch Cable - 3m
OCC | Fiber Jumper | D8SCAPC-LCUPC-3M | Duplex 3mm SM SC APC - LC UPC Fiber Patch Cable - 3m
OCC | Fiber Jumper | D8LCUPC-LCUPC-1M | Duplex 3mm SM LC UPC - LC UPC Fiber Patch Cable - 1m
Berktek | Fiber Cable | PDP006AB0707 | Tight-Buffered Fibers - 6 fiber Single-mode - 1310/1550nm
Berktek | Fiber Cable | PDP012AB0707 | Tight-Buffered Fibers - 12 fiber Single-mode - 1310/1550nm
Leviton | FOC, Management | 5R1UM-S03 | 1RU Rack Mount Enclosure 3 LGX Plates Solid Front Door Black
Leviton | FOC, Management | T5PLS-12-F | 12 Port Splice Tray
Leviton | FOC, Management | T5PLS-24-F | 24 Port Splice Tray
Leviton | FOC, Management | SPLMT-HKT | Splice Tray Mounting Hardware
Leviton | FOC, Management | 5F100-6VC | SC 6 Pack Green Loaded with APC Adapters
Leviton | FOC, Management | 5F100-2VC | SC 12 Pack Green Loaded with APC Adapters
Leviton | FOC, Management | APPSC-S03 | Single Fiber 900um SC/APC SM 3m Pigtails w/ Green Boots
Leviton | FOC, Management | 5WMNT-1C | Wall Mount Splice Tray with 6 port splice tray [6 splices]
Leviton | Fiber Jumper | APSSC-S03 | Simplex 3mm SM SC-SC APC Ultra Fiber Patch Cable - 3m
Passive Components
ADRF | Coupler | ADRF-CBC-700-2600-LPIM | Crossband Coupler (Low: 698~940 MHz; High: 1710~2600 MHz). N-Type Female Connectors
ADRF | Coupler | ADRF-CBC-700-2600-4310 | Crossband Coupler (Low: 698~940 MHz; High: 1710~2690 MHz). 4.3-10 Female Connectors
ADRF | Coupler | ADRF-CBC-80-2700-S | Low PIM Cross-Band Coupler (Low 80~2170MHz, High 2400~2700MHz)
ADRF | Filter | ADRF-BSF-14 | ADRF Band-Stop Filter for Band 14
ADRF | Splitter | ADRF-2WS-20W-N-LPIM | 2 Way Divider (690~2700 MHz, 20 W) Low PIM Rated, N-Type
ADRF | Splitter | ADRF-3WS-20W-N-LPIM | 3 Way Divider (690~2700 MHz, 20 W) Low PIM Rated, N-Type
ADRF | Splitter | ADRF-4WS-20W-N-LPIM | 4 Way Divider (690~2700 MHz, 20 W) Low PIM Rated, N-Type
ADRF | Coupler | ADRF-DCPL-6-N-LPIM | 6dB Directional Coupler (690~2700 MHz, 50 W) Low PIM Rated, N-Type
ADRF | Coupler | ADRF-DCPL-10-N-LPIM | 10dB Directional Coupler (690~2700 MHz, 100 W) Low PIM Rated, N-Type
ADRF | Coupler | ADRF-HCPL-3-N-LPIM | Hybrid Coupler (3 dB, 690~2700 MHz, 100 W) Low PIM Rated, N-Type
ADRF | Antenna | AD-OMNI-SISO-N-X | Low PIM SISO Omni Server Antenna (617MHz-6000MHz) (N Type)
ADRF | Splitter | ADRF-2WS-4310-X | 2 Way Divider (600~4200 MHz, 200 W) Low PIM Rated, 4.3-10 Female
ADRF | Splitter | ADRF-3WS-4310-X | 3 Way Divider (600~4200 MHz, 200 W) Low PIM Rated, 4.3-10 Female
ADRF | Splitter | ADRF-4WS-4310-X | 4 Way Divider (600~4200 MHz, 200 W) Low PIM Rated, 4.3-10 Female
ADRF | Coupler | ADRF-DCPL-6-4310-X | 6dB Directional Coupler (600~4200 MHz, 200 W) Low PIM Rated, 4.3-10 Female
ADRF | Coupler | ADRF-DCPL-10-4310-X | 10dB Directional Coupler (600~4200 MHz, 200 W) Low PIM Rated, 4.3-10 Female
ADRF | Coupler | ADRF-HCPL-3-4310-X | Hybrid Coupler (3 dB, 578~2700 MHz, 100 W) Low PIM Rated, 4.3-10 Female
ADRF | Antenna | AD-OMNI-SISO-4310-X | Low PIM SISO Omni Server Antenna (617MHz-6000MHz) (4.3-10 Type)
ADRF | Duplexer | ADRF-2PLX-700F-4310 | 700 MHz Duplexer, 4.3-10 Female Type, Low PIM Rated
ADRF | Duplexer | ADRF-2PLX-850-4310 | Cellular Duplexer, 4.3-10 Female Type, Low PIM Rated
ADRF | Duplexer | ADRF-2PLX-1900-4310 | PCS Duplexer, 4.3-10 Female Type, Low PIM Rated
ADRF | Duplexer | ADRF-2PLX-2100-4310 | AWS Duplexer, 4.3-10 Female Type, Low PIM Rated
ADRF | Battery Backup | ADRF-BBL-U-24 | Type 4 Rated Large BBU (Current Tempest) with 24V for SDR, SDR-ICS, ADXV, PSR-78, UL 2524
ADRF | Battery Backup | ADRF-BBS-U-24 | Type 4 Rated Small BBU (Small Tempest) with 24V for SDR, SDR-ICS, ADXV, PSR-78, UL 2524
ADRF | Battery Backup | ADRF-BBX-U-CBL-21P | BBx Parallel Cable to Add Capacity, used with the ADRF-BBS-U-24 and ADRF-BBL-U-24
ADRF | Battery Backup | ADRF-BBX-U-CBL-21S | BBx Series Cable to Increase Voltage, used with the ADRF-BBS-U-24 and ADRF-BBL-U-24
ADRF | Battery Backup | ADRF-BBL-X-12 | Type 4 Rated Large BBU (Current Tempest) with 12V for ADXV-HE
ADRF | Battery Backup | ADRF-BBS-X-12 | Type 4 Rated Small BBU (Small Tempest) with 12V for ADXV-HE
ADRF | Battery Backup | ADXV-H-CBL-BBX-11 | ADXV Battery Backup Cable for the ADRF-BBL-X-12 or ADRF-BBS-X-12
ADRF | Battery Backup | ADRF-BBL-X-24 | Type 4 Rated Large BBU (Current Tempest) with 24V for SDR, SDR-ICS, ADXV, PSR-78
ADRF | Battery Backup | ADRF-BBS-X-24 | Type 4 Rated Small BBU (Small Tempest) with 24V for SDR, SDR-ICS, ADXV, PSR-78
ADRF | Battery Backup | ADRF-BBX-CBL-21P | BBx Parallel Cable to Add Capacity, used with the ADRF-BBS-X-24 and ADRF-BBL-X-24
ADRF | Battery Backup | ADRF-BBX-CBL-21S | BBx Series Cable to Increase Voltage, used with the ADRF-BBS-X-24 and ADRF-BBL-X-24
ADRF | Battery Backup | ADRF-BBX-CBL-11 | ADXV Battery Backup Cable for (1) BBU to (1) ADRF Active Module
ADRF | Battery Backup | ADRF-BBX-CBL-12 | ADXV Battery Backup Cable for (1) BBU to (2) ADRF Active Module
ADRF | Battery Backup | ADRF-BBS-X-WMK | Battery Backup Unit Wall Mount Kit
ADRF | Battery Backup | ADRF-BBL-X-WMK | Battery Backup Unit Wall Mount Kit
ADRF | Battery Backup | ADRF-BBU-W-045-2P | Wall Mount Battery Backup 12V 90Ah, 2 Small Batteries in Parallel
ADRF | Battery Backup | ADRF-BBU-W-120-2P | Wall Mount Battery Backup 12V 240Ah, 2 Large Batteries in Parallel
ADRF | Battery Backup | ADRF-BBU-W-125-2P | Wall Mount Battery Backup 12V 250Ah, 2 Large Batteries (Lithium) in Parallel
ADRF | Battery Backup | ADRF-BBU-W-045-2S | Wall Mount Battery Backup 24V 45Ah, 2 Small Batteries in Series
ADRF | Battery Backup | ADRF-BBU-W-120-2S | Wall Mount Battery Backup 24V 120Ah, 2 Large Batteries in Series
ADRF | Battery Backup | ADRF-BBU-W-125-2S | Wall Mount Battery Backup 24V 125Ah, 2 Large Batteries (Lithium) in Series
ADRF | Battery Backup | ADRF-BBU-W-045-4S | Wall Mount Battery Backup 48V 45Ah, 4 Small Batteries in Series
ADRF | Modem | AD-IX20-0AG4-PKG | Digi IX20-0AG4 4G LTE router
ADRF | Modem Coupling Kit | ADRF-MOD-CPL-KIT | Modem Coupling Kit For External Modem. Includes 10 dB Coupler and 2 Jumpers
ADRF | Jumper Cable | J-SF074-3-BMR-BMR | 3 ft SMB Male (Right Angle) to SMB Male (Right Angle) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF074-5-BMR-BMR | 5 ft SMB Male (Right Angle) to SMB Male (Right Angle) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF074-5-BMR-BMR | 10 ft SMB Male (Right Angle) to SMB Male (Right Angle) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF074-2-SMR-SMR | 2 ft SMA Male (Right Angle) to SMA Male (Right Angle) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-10-DMS-NFS | 10 ft DIN Male (Straight) to N Female (Straight) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-1H-4MR-4MR | 1.5 ft 4.3-10 Male (Right Angle) to 4.3-10 Male (Right Angle) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-1H-4MR-NMR | 1.5 ft 4.3-10 Male (Right Angle) to N Male (Right Angle) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-1H-NMR-NMR | 1.5 ft N Male (Right Angle) to N Male (Right Angle) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-1H-4MS-NFS | 1.5 ft 4.3-10 Male (Straight) to N Female (Straight) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-3-4MR-4MR | 3 ft 4.3-10 Male (Right Angle) to 4.3-10 Male (Right Angle) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-3-NFS-NFS | 3 ft N Female (Straight) to N Female (Straight) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-3-NMS-NFS | 3 ft N Male (Straight) to N Female (Straight) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-3-NMS-NMS | 3 ft N Male (Straight) to N Male (Straight) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-3-4MS-4MS | 3 ft 4.3-10 Male (Straight) to 4.3-10 Male (Straight) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-3-4MS-SMS | 3 ft 4.3-10 Male (Straight) to SMA Male (Straight) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-6-4MS-NMS | 6 ft 4.3-10 Male (Straight) to N Male (Straight) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-6-DMS-DMS | 6 ft DIN Male (Straight) to DIN Male (Straight) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-6-DMS-NMS | 6 ft DIN Male (Straight) to N Male (Straight) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-6-DMS-4MS | 6 ft DIN Male (Straight) to 4.3-10 Male (Straight) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-6-NMS-NMS | 6 ft N Male (Straight) to N Male (Straight) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF141-6-4MS-4MS | 6 ft 4.3-10 Male (Straight) to 4.3-10 Male (Straight) Low PIM Jumper Cable
ADRF | Jumper Cable | J-SF500-6-DMS-DMS | 6 ft SF500 DIN Male (Straight) to DIN Male (Straight) Low PIM Outdoor Rated Jumper Cable
RFS | Coaxial Cable | LCF12-50J | CELLFLEX - 1/2" Low-Loss Foam Coaxial Cable - In-Building (JFN Types)
RFS | Coaxial Cable | ICA12-50JPL | Plenum Rated Low-Loss Coaxial Cable 1/2" - Wideband, Copper
RFS | Coaxial Cable | ICA12-50JPLLR | Plenum Rated Low-Loss Coaxial Cable 1/2" - Wideband, Aluminum
RFS | Coaxial Cable | ICA12-50JPLLR-ARMR | Armored 1/2" Aluminum Plenum Rated Low-loss Air Dielectric Coax
RFS | Coaxial Cable | SG-ICA12-50JPLLR | 1/2" Aluminum Plenum Rated Low-loss Air Dielectric Coax with SmartGuard™ Technology
RFS | Coaxial Cable | LCF78-50JFNL | Foam-Dielectric Low-Loss Coaxial Cable 7/8" - Wideband, Copper
RFS | Connector | NM-LCF12-C02-6 | N Male OMNI FITTM Connector for ICA12/LCF12-50 Cable
RFS | Connector | NF-LCF12-C02-6 | N Female OMNI FITTM Connector for ICA12/LCF12-50 Cable
RFS | Connector | 716M-LCF12-D01 | 7/16 DIN, (M), Straight, LCF12-50J, COMPRESSION
RFS | Connector | NM-LCF12-D01 | N, (M), Straight, LCF12-50J, O-RING
RFS | Connector | NF-LCF12-D01 | N, (F), Straight, LCF12-50J, O-RING
RFS | Connector | NM-LCF78-C03 | N Male OMNI FITTM Connector for 7/8" Cable
RFS | Connector | 43M-LCF12-D01 | 4.3-10 Male OMNI FITTM Connector for LCF12-50 Cable
RFS | Connector | 43F-LCF12-D01 | 4.3-10 Female OMNI FITTM Connector for LCF12-50 Cable
JMA Wireless | Connector | UXP-4MT-12 | 4.3-10 Male Connector for 1/2” Annular Cables
JMA Wireless | Connector | UXP-4F-12 | 4.3-10 Female Connector for 1/2” Annular Cables
JMA Wireless | Connector | UPL-4MT-12 | 4.3-10 Male Connector for 1/2” Plenum Cables
JMA Wireless | Connector | UPL-4F-12 | 4.3-10 Female Connector for 1/2” Plenum Cables
Microlab | Terminator | TA-2MN | Termination (N male, 2 W)
Microlab | Terminator | TB-5MN | Termination (N male, 10 W)
Microlab | Matrix Combiner | CM-80N | Hybrid Matrix, 3x3, 694 - 2700 MHz, N-type
Microlab | Matrix Combiner | CM-88N | Hybrid Matrix, 4x4, 694 - 2700 MHz, N-type
Microlab | Coupler | CA-14E | Hybrid Coupler (3 dB, 350~5,925 MHz, 200 W) Low PIM Rated, 4.3-10 Female
Microlab | Diplexer | BK-04N | Diplexer, 50-220/400-960 MHz, N-F, VHF/UHF, ROHS
Microlab | Diplexer | BK-24N | Diplexer, 80-520/694-2700 MHz, N-F
Microlab | Coupler | CA-93N | Hybrid Coupler (3 dB, 128~1000 MHz, 100 W) Low PIM Rated, N Female
Microlab | Splitter | D2-41FN | 2 Way Reactive Power Divider, 138-960 MHz, N Type
Microlab | Splitter | D3-41FN | 3 Way Reactive Power Divider, 138-960 MHz, N Type
Microlab | Splitter | D4-41FN | 4 Way Reactive Power Divider, 138-960 MHz, N Type
Microlab | Tapper | DN-31FN | Tapper, 137-960 MHz 2:1, 3.0dB ROHS
Microlab | Tapper | DN-51FN | Tapper, 137-960 MHz 4:1, 6.0dB ROHS
Microlab | Tapper | DN-71FN | Tapper, 137-960 MHz 10:1, 10.0dB ROHS
Microlab | Coupler | BK-263E | Diplexer 617-2690/3300-5925 MHz, 200W/100W, 4.3-10F
Microlab | Coupler | CA-141E | Hybrid Coupler 2x2 617-5925MHz 100W -161dBc 4.3-10 IP67
Pulse | Antenna | PSIBVHF | Omni Antenna VHF, N Female Type
Pulse | Antenna | PSUTWCNF | Omni Antenna UHF / 698-960 MHz, N Female Type
Pulse | Antenna | PSIBVU78 | Omni Antenna VHF / UHF / 700-960 MHz, N Female Type
Galtronics | Antenna | GI0802-06684-112 | PEAR™ GI0802-06684 MIMO Omni Antenna [617-960 / 1695-2690 MHz] (4310 Female)
Galtronics | Antenna | 02121261-05490 | PEAR™ S5490i In-Building SISO Directional Antenna [698-960/1695-2700 MHz] (N Female)
Galtronics | Antenna | 02130261-05490 | PEAR™ S5490i In-Building SISO Directional Antenna [698-960/1695-2700 MHz] (4310 Female)
Galtronics | Antenna | GI1002-06685-112 | PEAR™ GI1002 In-Building MIMO Directional Antenna [617-896/1695-2690 MHz] (4310 Female)
Galtronics | Antenna | GI1002-07234-112 | Mini 2x2 MIMO Directional Panel Antenna (617-960, 1695-2690 & 3300-4200 MHz) (4310-Female)
Galtronics | Antenna | 62-29-03 | Swivel Mounting Bracket for PEAR Panel Antennas (M5277i / S5490i / S5591i)
Hoffman | Enclosure | PTHS242430G4A | NEMA Enclosure for Head End, AC Included
Leviton | Category Cable | 11140401 | UTP Plenum Category 6A Cable
Leviton | Connector | 6AUJK-R*6 | Cat 6A Component-Rated QuickPort Jack Connector
Cisco | Ethernet Switch | SF200-24 | Smart Switch: 24 10/100 Ports, 2 Combo Mini-GBIC Ports
Optional Components
Manufacturer | Item | Part Number | Description | Quantity
Assumptions
|  | 1 | This Bill of Materials is based on information (“Customer Information”) (e.g., rough order of magnitude (ROM) estimate, preliminary design, customer-provided equipment list) provided by the customer (“Customer”) and is intended for budgetary purposes only. ADRF does not represent or warrant the accuracy of the Customer Information. The Customer is solely responsible for the accuracy of the Customer Information provided to ADRF. The Customer agrees to hold ADRF harmless for any inaccurate Customer Information provided to ADRF.

## Power and Size
Item | Part Number | Description | Quantity | Unit Power | Total Power | Total BTU/hr | Rack Units | Total Rack Units | Dimensions (in) | Unit Weight (lb) | Total Weight (lb)
Signal Source (Commercial) |  |  | #REF!
Repeater | SDR-NMS | Includes Chassis, Network Management System, Accessories, and Wall Mounting Bracket | #VALUE! | n/a | n/a | n/a | 8 | n/a | 19 x 14 x 19.1 | 33 | n/a
Repeater | SDR-24-700F | 700 MHz RF Module (90 dB Max Gain, 24 dBm Output Power) Supports Lower ABC and Upper C | #REF! | 105 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-24-C | Cellular RF Module (90 dB Max Gain, 24 dBm Output Power) | #REF! | 105 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-24-S | SMR800/900 RF Module (80 dB Gain, 24 dBm Output Power) | #REF! | 105 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-24-P | PCS RF Module (90 dB Max Gain, 24 dBm Output Power) | #REF! | 85 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-24-AF | AWS-1 + AWS-3 RF Module (90 dB Max Gain, 24 dBm Output Power) | #REF! | 85 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-30-600 | 600 MHz RF Module (90 dB Max Gain, 30 dBm Output Power) | #REF! | 115 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 24 | n/a
Repeater | SDR-30-700F | 700 MHz RF Module (90 dB Max Gain, 30 dBm Output Power) Supports Lower ABC and Upper C | #REF! | 110 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-30-C | Cellular RF Module (90 dB Max Gain, 30 dBm Output Power) | #REF! | 110 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-30-S | SMR800/900 RF Module (80 dB Gain, 30 dBm Output Power) | #REF! | 110 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-30-P | PCS RF Module (90 dB Max Gain, 30 dBm Output Power) | #REF! | 105 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-30-AF | AWS-1 + AWS-3 RF Module (95 dB Max Gain, 30 dBm Output Power) | #REF! | 105 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-33-700F | 700 MHz RF Module (95 dB Max Gain, 33 dBm Output Power) Supports Lower ABC and Upper C | #REF! | 145 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-33-C | Cellular RF Module (95 dB Max Gain, 33 dBm Output Power) | #REF! | 145 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-33-S | SMR800/900 RF Module (80 dB Max Gain, 33 dBm Output Power) | #REF! | 145 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-33-P | PCS RF Module (95 dB Max Gain, 33 dBm Output Power) | #REF! | 155 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-33-AF | AWS-1 + AWS-3 RF Module (95 dB Max Gain, 33 dBm Output Power) | #REF! | 155 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-33-BTF | BRS TDD RF Module (95 dB Max Gain, 33 dBm Output Power), Supports 5G NR/LTE Full Band | #REF! | 110 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-33-B | BRS FDD RF Module (95 dB Max Gain, 33 dBm Output Power), Supports FDD-LTE Technology | #REF! | 160 | n/a | n/a | n/a | n/a | 4.2 x 11.6 x 18.2 | 21 | n/a
Repeater | SDR-CHC-V | Optional Channel Combiner for 700 MHz, Cell, PCS, and AWS-1 | #REF! | n/a | n/a | n/a | 1.5 | n/a | 19 x 2.6 x 9.85 | 9 | n/a
Repeater | SDR-CHC-S | Optional Channel Combiner for SMR 800/900 MHz, PCS, and BRS | #REF! | n/a | n/a | n/a | 1 | n/a | 19 x 1.8 x 8.1 | 8.8 | n/a
Repeater | ADXV-R-CHC-U | Universal Channel Combiner (700MHz, SMR800MHz + Cellular, PCS, AWS, WCS, BRS) | #REF! | n/a | n/a | n/a | 1 | n/a | 19 x 1.73 x 10.8 | 12 | n/a
Repeater | RMK-SDR | 19" Rack Mount Bracket For SDR Module (Includes SDR-BRACKET) | #REF! | n/a | n/a | n/a | 3 | n/a | 5.3 x 11.6 x 18.2 | 5 | n/a
Repeater | SDR-ICS-CHA | High Power Outdoor Repeater 19" Rack Mount Chassis, Supports Up to 4 SDR-ICS Modules | #REF! | n/a | n/a | n/a | 6 | n/a | 19.0 x 10.50 x 17.0 | 17.6 | n/a
Repeater | SDR-ICS-ENC-2 | High Power Outdoor Repeater Enclosure, Supports Up to 2 SDR-ICS Modules + 1 SDR-ICS-CHC | #REF! | n/a | n/a | n/a | n/a | n/a | 13.4 x 31.5 x 13.8 | 39.7 | n/a
Repeater | SDR-ICS-ENC-4 | High Power Outdoor Repeater Enclosure, Supports Up to 4 SDR-ICS Modules + 2 SDR-ICS-CHC | #REF! | n/a | n/a | n/a | n/a | n/a | 23.6 x 31.5 x 13.8 | 64 | n/a
Repeater | SDR-ICS-43-6 | High Power Outdoor Repeater Module 600 MHz (43dBm) | #REF! | 250 | n/a | n/a | n/a | n/a | 4.18 x 10.34 x 17.73 | 30.8 | n/a
Repeater | SDR-ICS-43-7FN | High Power Outdoor Repeater Module 700MHz Band 14 (43dBm) | #REF! | 250 | n/a | n/a | n/a | n/a | 5.28 x 10.34 x 17.73 | 39.68 | n/a
Repeater | SDR-ICS-43-7L | High Power Outdoor Repeater Module 700MHz Lower A/B/C (43dBm) | #REF! | 250 | n/a | n/a | n/a | n/a | 4.18 x 10.34 x 17.73 | 30.8 | n/a
Repeater | SDR-ICS-43-7U | High Power Outdoor Repeater Module 700MHz Upper C (43dBm) | #REF! | 250 | n/a | n/a | n/a | n/a | 4.18 x 10.34 x 17.73 | 30.8 | n/a
Repeater | SDR-ICS-43-S8C | High Power Outdoor Repeater Module SMR800MHz (Commercial) + Cellular (43dBm) | #REF! | 230 | n/a | n/a | n/a | n/a | 4.18 x 10.34 x 17.73 | 30.8 | n/a
Repeater | SDR-ICS-43-P | High Power Outdoor Repeater Module PCS (43dBm) | #REF! | 233 | n/a | n/a | n/a | n/a | 4.18 x 10.34 x 17.73 | 30.8 | n/a
Repeater | SDR-ICS-43-A | High Power Outdoor Repeater Module AWS (43dBm) | #REF! | 250 | n/a | n/a | n/a | n/a | 4.18 x 10.34 x 17.73 | 30.8 | n/a
Repeater | SDR-ICS-43-W | High Power Outdoor Repeater Module WCS (43dBm) | #REF! | 250 | n/a | n/a | n/a | n/a | 4.18 x 10.34 x 17.73 | 30.8 | n/a
Repeater | SDR-ICS-43-BT | High Power Outdoor Repeater Module BRS TDD (43dBm) | #REF! | 236 | n/a | n/a | n/a | n/a | 4.18 x 10.34 x 17.73 | 28.2 | n/a
Repeater | SDRX-43-BTF | High Power Outdoor Repeater Module BRS TDD (43dBm) Full Band, No ICS | #REF! | 260 | n/a | n/a | n/a | n/a | 5.7 x 10.3 x 17.7 | 29.1 | n/a
Repeater | SDR-ICS-CHC | SDR-ICS Universal Channel Combiner (700MHz, SMR800MHz + Cellular, PCS, AWS, WCS, BRS) | #REF! | n/a | n/a | n/a | 1 | n/a | 19.0 x 1.7 x 9.7 | 12 | n/a
Total Signal Source |  |  | #REF! |  | 0 | 0 |  | n/a |  |  | 0
#REF!
Signal Source (Public Safety) |  |  | #REF!
Repeater | PSR-78-8527-PKG | Digital Dual-Band (700/800 MHz) Public Safety 0.5W Repeater | #REF! | 130 | n/a | n/a | n/a | n/a | 10.13 x 7.56 x 19.7 | 35.7 | n/a
Repeater | PSR-78-9533-X | Digital Dual-Band (700/800 MHz) Public Safety 2W Repeater (Channelized) | #REF! | 163 | n/a | n/a | n/a | n/a | 11 x 9 x 21.3 | 55 | n/a
Repeater | PSR-78-9537-X | Digital Dual-Band (700/800 MHz) Public Safety 5W Repeater (Channelized) | #REF! | 263 | n/a | n/a | n/a | n/a | 12 x 11.9 x 21.3 | 64 | n/a
Repeater | PSR-78-9533-U | Digital Dual-Band (700/800 MHz) Public Safety 2W Repeater (Channelized), UL 2524 | #REF! | 163 | n/a | n/a | n/a | n/a | 11 x 9 x 28 | 60.5 | n/a
Repeater | PSR-78-9537-U | Digital Dual-Band (700/800 MHz) Public Safety 5W Repeater (Channelized), UL 2524 | #REF! | 263 | n/a | n/a | n/a | n/a | 12 x 11.9 x 28 | 72.7 | n/a
Repeater + Head End | FiRe-78-4 | Digital Dual-Band (700/800 MHz) Public Safety Fiber Repeater (Channelized, 4 Remotes) | #REF! | 121 | n/a | n/a | n/a | n/a | 11 x 10 x 21.2 | 60.5 | n/a
Head End | FiRe-AAI | FiRe Dry Contact Auxiliary Alarm Interface Module for remote monitoring at HE (supports 4 RU) | #REF! | 12 | n/a | n/a | n/a | n/a | 9.85 x 8.47 x 5.24 | 11 | n/a
Repeater + Head End | FiRe-78-8-U | Digital Dual-Band (700/800 MHz) Public Safety Fiber Repeater (Channelized, 8 Remotes, UL2524) | #REF! | 140 | n/a | n/a | n/a | n/a | 11 x 12.2 x 21.3 | 72.7 | n/a
Repeater + Head End | FiRe-OEU-U | FiRe Optical Expansion Unit (supports 8 Remote Units) | #REF! | TBD | n/a | n/a | n/a | n/a | TBD | TBD | n/a
Repeater | PSR-VU-9537-X | Digital Dual-Band (VHF/UHF) Public Safety Repeater | #REF! | 214 | n/a | n/a | n/a | n/a | 12 x 13 x 21.7 | 65 | n/a
Repeater | PSR-VU-9537-U | Digital Dual-Band (VHF/UHF) Simplex Public Safety Repeater, UL 2524 | #REF! | 214 | n/a | n/a | n/a | n/a | 12 x 13.51 x 28.05 | 74 | n/a
Repeater | PSR-U-9537-U | Digital Dual-Band (UHF Only) Public Safety Repeater, UL 2524 | #REF! | 214 | n/a | n/a | n/a | n/a | 12 x 13.51 x 28.05 | 87.2 | n/a
Total Signal Source |  |  | #REF! |  | 0 | 0 |  | n/a |  |  | 0
#REF!
ADX V DAS Head-end |  |  | #REF!
Head End | ADXV-H-NMS-AC | ADX V DAS Head End Chassis + Network Management System + AC Power Supply Unit | #REF! | 19.64 | n/a | n/a | 4 | n/a | 19 x 7 x 19.7 | 20.9 | n/a
Head End | ADXV-H-NMS-DC | ADX V DAS Head End Chassis + Network Management System + DC Power Supply Unit | #REF! | 16.24 | n/a | n/a | 4 | n/a | 19 x 7 x 19.7 | 20 | n/a
Head End | ADXV-H-RACK | ADXV DAS Head End 19" 1U Rack Supporting Up to 2 ODU, CHC-88, or CHC-44M | #REF! | n/a | n/a | n/a | 1 | n/a | 19 x 1.73 x 19 | 4.2 | n/a
Head End | ADXV-H-ODU-4 | ADX V DAS Head End Optical Donor Unit Module (4 Ports) | #REF! | 21.19 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 5.3 | n/a
Head End | ADXV-H-ODU-4-X | ADX V DAS Head End Optical Donor Unit Module (4 Ports) Supports C-Band | #REF! | 21.12 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 5.3 | n/a
Head End | ADXV-H-ODU-1 | ADX V DAS Head End Optical Donor Unit Module (1 Port) | #REF! | 14.27 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 5.3 | n/a
Head End | ADXV-H-POI-6 | ADX V DAS Head End Point of Interface Module 600 MHz (0-48dBm) | #REF! | 14.77 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 6.17 | n/a
Head End | ADXV-H-POI-7L | ADX V DAS Head End Point Of Interface Module 700MHz Lower A/B/C (0-48dBm) | #REF! | 13.54 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 6.17 | n/a
Head End | ADXV-H-POI-7U | ADX V DAS Head End Point Of Interface Module 700MHz Upper C + Band 14 (0-48dBm) | #REF! | 13.54 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 6.17 | n/a
Head End | ADXV-H-POI-7APT | ADX V DAS Head End Point Of Interface Module 700MHz APT (0-48dBm) | #REF! | 13.59 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 6.17 | n/a
Head End | ADXV-H-POI-S8C | ADX V DAS Head End Point Of Interface Module SMR800MHz (Commercial) + Cellular (0-48dBm) | #REF! | 13.21 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 6.17 | n/a
Head End | ADXV-H-POI-P | ADX V DAS Head End Point Of Interface Module PCS (0-48dBm) | #REF! | 14.78 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 6.17 | n/a
Head End | ADXV-H-POI-A | ADX V DAS Head End Point Of Interface Module AWS-1 + AWS-3 (0-48dBm) | #REF! | 14.77 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 6.17 | n/a
Head End | ADXV-H-POI-W | ADX V DAS Head End Point Of Interface Module WCS (0-48dBm) | #REF! | 14.77 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 6.17 | n/a
Head End | ADXV-H-POI-BTF | ADX V DAS Head End Point Of Interface Module BRS (TD-LTE / 5G NR) (0-48dBm) | #REF! | 20.97 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 6.17 | n/a
Head End | ADXV-H-POI-N77L | ADX V DAS Head End Point Of Interface Module C-Band (3450-3550 MHz) (0-48dBm) | #REF! | 5.12 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 6.17 | n/a
Head End | ADXV-H-POI-N77H | ADX V DAS Head End Point Of Interface Module C-Band (3700-3980 MHz) (0-48dBm) | #REF! | 5.32 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 6.17 | n/a
Head End | ADXV-H-POIL-B | ADX V DAS Head End Point of Interface Module BRS (FDD-LTE) (0-25dBm) | #REF! | 11.69 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 5 | n/a
Head End | ADXV-H-POIL-78P | ADX V DAS Head End 700MHz/800MHz Dual Band Point of Interface (Public Safety) | #REF! | 10.25 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 5 | n/a
Head End | ADXV-H-POIL-S8 | ADX V DAS Head End Point Of Interface Module 800MHz | #REF! | 10.49 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 5 | n/a
Head End | ADXV-H-POIL-9P | ADX V DAS Head End Point Of Interface Module 900MHz (including Paging) | #REF! | 10.49 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 5 | n/a
Head End | ADXV-H-POIL-VU | ADX V DAS Head End VHF/UHF Dual Band Point of Interface | #REF! | 8.4 | n/a | n/a | n/a | n/a | 2.6 x 6.85 x 17 | 6.61 | n/a
Head End | ADXV-H-CHC-88-DL | ADX V DAS Head End Channel Combiner Module for Downlink (8 Inputs + 8 Outputs) | #REF! | 1.06 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 4.4 | n/a
Head End | ADXV-H-CHC-88-UL | ADX V DAS Head End Channel Combiner Module for Uplink (8 Inputs + 8 Outputs) | #REF! | 1.06 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 4.4 | n/a
Head End | ADXV-H-CHC-88-DL-X | ADX V DAS Head End Channel Combiner Module for DL (8 Inputs + 8 Outputs) Supports C-Band | #REF! | 1.02 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 4.4 | n/a
Head End | ADXV-H-CHC-88-UL-X | ADX V DAS Head End Channel Combiner Module for UL (8 Inputs + 8 Outputs) Supports C-Band | #REF! | 1.02 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 4.4 | n/a
Head End | ADXV-H-CHC-168-DL | ADX V DAS Head End Channel Combiner Module for Downlink (16 Inputs + 8 Outputs) | #REF! | 3.29 | n/a | n/a | n/a | n/a | 2.6 x 6.85 x 17 | 7.71 | n/a
Head End | ADXV-H-CHC-168-UL | ADX V DAS Head End Channel Combiner Module for Uplink (16 Inputs + 8 Outputs) | #REF! | 3.29 | n/a | n/a | n/a | n/a | 2.6 x 6.85 x 17 | 7.71 | n/a
Head End | ADXV-H-CHC-168-DL-X | ADX V DAS Head End Channel Combiner Module for DL (16 Inputs + 8 Outputs) Supports C-Band | #REF! | 3.29 | n/a | n/a | n/a | n/a | 2.6 x 6.85 x 17 | 7.71 | n/a
Head End | ADXV-H-CHC-168-UL-X | ADX V DAS Head End Channel Combiner Module for UL (16 Inputs + 8 Outputs) Supports C-Band | #REF! | 3.29 | n/a | n/a | n/a | n/a | 2.6 x 6.85 x 17 | 7.71 | n/a
Head End | ADXV-H-AAI | ADX V DAS Head End Auxiliary Alarm Interface Module (supports 1 HE / 4 RU / 6 Inputs) | #REF! | 16.79 | n/a | n/a | n/a | n/a | 1.3 x 6.85 x 17 | 2.95 | n/a
Total Head End |  |  | #REF! |  | 0 | 0 |  | n/a |  |  | 0
#REF!
ADX V DAS Medium Power Remote (Commercial) |  |  | #REF!
Remote Module | ADXV-R-CHA | ADX V DAS Remote Unit Chassis (supports 7 RU Modules) (rack or wall mountable) | #REF! | n/a | n/a | n/a | 4 | n/a | 19 x 7 x 15 | 15.43 | n/a
Remote Module | ADXV-R-CHA-SG | ADX V DAS Remote Unit Chassis Safety Guard (Custom) | #REF! | n/a | n/a | n/a | n/a | n/a | 19.2 x 7 x 2.8 | 2.2 | n/a
Remote Module | ADXV-R-CHA-SGS1 | ADX V DAS Remote Unit Chassis Safety Guard (Custom) | #REF! | n/a | n/a | n/a | n/a | n/a | 19.2 x 7 x 2.8 | 2.2 | n/a
Remote Module | ADXV-R-CHA-3 | ADX V DAS Remote Unit Chassis (supports 3 RU Modules) (rack or wall mountable) | #REF! | n/a | n/a | n/a | n/a | n/a | 9.22 x 7 x 15 | 7.5 | n/a
Remote Module | ADXV-R-RACK | ADX V DAS Mid Power Remote Unit Expansion Rack | #REF! | n/a | n/a | n/a | 1.5 | n/a | 19 x 2.6 x 13.8 | 7.4 | n/a
Remote Module | ADXV-R-PSU-AC | ADX V DAS Remote Unit AC Power Supply Unit Module | #REF! | 4.7 | n/a | n/a | n/a | n/a | 2.3 x 6.85 x 13.8 | 8.81 | n/a
Remote Module | ADXV-R-PSU-DC | ADX V DAS Remote Unit DC Power Supply Unit Module | #REF! | 2.88 | n/a | n/a | n/a | n/a | 2.3 x 6.85 x 13.8 | 8.81 | n/a
Remote Module | ADXV-R-ORU | ADX V DAS Remote Unit Optical Remote Unit Module | #REF! | 11.27 | n/a | n/a | n/a | n/a | 2.3 x 6.85 x 13.8 | 8.81 | n/a
Remote Module | ADXV-R-ORU-X | ADX V DAS Remote Unit Optical Remote Unit Module (Supports C-Band) | #REF! | 12.06 | n/a | n/a | n/a | n/a | 2.3 x 6.85 x 13.8 | 8.81 | n/a
Remote Module | ADXV-R-336 | ADX V DAS Remote Unit 600 MHz 33dBm Amplifier Module | #REF! | 49.61 | n/a | n/a | n/a | n/a | 2.3 x 6.85 x 13.8 | 9.92 | n/a
Remote Module | ADXV-R-337FN | ADX V DAS Remote Unit 700MHz Lower A/B/C + Upper C + Band 14 33dBm Amplifier Module | #REF! | 39.76 | n/a | n/a | n/a | n/a | 3.3 x 6.85 x 13.8 | 11.7 | n/a
Remote Module | ADXV-R-337APT | ADX V DAS Remote Unit 700MHz APT 33dBm Amplifier Module | #REF! | 43.38 | n/a | n/a | n/a | n/a | 2.3 x 6.85 x 13.8 | 8.62 | n/a
Remote Module | ADXV-R-337F | ADX V DAS Remote Unit 700MHz Lower A/B/C + Upper C 33dBm Amplifier Module | #REF! | 46.27 | n/a | n/a | n/a | n/a | 2.3 x 6.85 x 13.8 | 9.92 | n/a
Remote Module | ADXV-R-33S8 | ADX V DAS Remote Unit SMR800MHz Cellular 33dBm Amplifier Module | #REF! | 41.51 | n/a | n/a | n/a | n/a | 2.3 x 6.85 x 13.8 | 9.92 | n/a
Remote Module | ADXV-R-33S8C | ADX V DAS Remote Unit SMR800MHz (Commercial) + Cellular 33dBm Amplifier Module | #REF! | 41.51 | n/a | n/a | n/a | n/a | 2.3 x 6.85 x 13.8 | 9.92 | n/a
Remote Module | ADXV-R-339P | ADX V DAS Remote Unit 900MHz (including Paging) 33dBm Amplifier Module | #REF! | 49.14 | n/a | n/a | n/a | n/a | 2.3 x 6.85 x 13.8 | 9.92 | n/a
Remote Module | ADXV-R-37P | ADX V DAS Remote Unit PCS 37dBm Amplifier Module | #REF! | 55.61 | n/a | n/a | n/a | n/a | 2.3 x 6.85 x 13.8 | 9.92 | n/a
Remote Module | ADXV-R-37A | ADX V DAS Remote Unit AWS-1 + AWS-3 37dBm Amplifier Module | #REF! | 54.73 | n/a | n/a | n/a | n/a | 2.3 x 6.85 x 13.8 | 9.92 | n/a
Remote Module | ADXV-R-37W | ADX V DAS Remote Unit WCS 37dBm Amplifier Module | #REF! | 50.68 | n/a | n/a | n/a | n/a | 2.3 x 6.85 x 13.8 | 9.92 | n/a
Remote Module | ADXV-R-33BTF | ADX V DAS Remote Unit BRS TDD 33dBm Amplifier Module, 194 MHz Bandwidth Support | #REF! | 56.54 | n/a | n/a | n/a | n/a | 2.3 x 6.85 x 13.8 | 9.92 | n/a
Remote Module | ADXV-R-37B | ADX V DAS Remote Unit BRS FDD 37dBm Amplifier Module | #REF! | 63 | n/a | n/a | n/a | n/a | 2.3 x 6.85 x 13.8 | 9.92 | n/a
Remote Module | ADXV-R-37N77L | ADX V DAS Remote Unit 5W C-Band Amplifier Module (3450-3550 MHz) | #REF! | 75 | n/a | n/a | n/a | n/a | 4.6 x 6.85 x 13.8 | 11.7 | n/a
Remote Module | ADXV-R-37N77H | ADX V DAS Remote Unit 5W C-Band Amplifier Module (3700-3980 MHz) | #REF! | 75 | n/a | n/a | n/a | n/a | 4.6 x 6.85 x 13.8 | 11.7 | n/a
Remote Module | ADXV-R-FAN-DC | Fan for Remote Unit Chassis | #REF! | 10 | n/a | n/a | n/a | n/a | 17.1 x 6.9 x 3.5 | 3.33 | n/a
Remote Module | ADXV-R-CHC-U | ADX V DAS Universal Channel Combiner (700MHz, SMR800MHz + Cellular, PCS, AWS, WCS, BRS) | #REF! | n/a | n/a | n/a | 1 | n/a | 19 x 1.73 x 10.8 | 12 | n/a
Remote Module | ADXV-R-CHC-X2 | ADX V DAS Universal Channel Combiner (600MHz, 700MHz, S8C, PCS, AWS, WCS, BRS, C-Band) | #REF! | n/a | n/a | n/a | 1 | n/a | 19 x 1.73 x 11.4 | 18.5 | n/a
Total Head End |  |  | #REF! |  | 0 | 0 |  | n/a |  |  | 0
#REF!
ADX V DAS High Power Remote (Commercial) |  |  | #REF!
Remote Module | ADXV-HPR-CHA | ADX V DAS High Power Remote Chassis (supports 6 HPR Modules) (rack or wall mountable) | #REF! | n/a | n/a | n/a | 6 | n/a | 19 x 10.5 x 15 | 17.6 | n/a
Remote Module | ADXV-HPR-RACK | ADX V DAS High Power Remote Unit Expansion Rack | #REF! | n/a | n/a | n/a | 2 | n/a | 19 x 3.47 x 13.8 | 7.53 | n/a
Remote Module | ADXV-HPR-PMK | ADX V DAS High Power Remote Pole Mount Kit (supports 8 HPR Modules) | #REF! | n/a | n/a | n/a | n/a | n/a | 13.4 x 52.8 x 13.8 | 43.5 | n/a
Remote Module | ADXV-HPR-PSU-AC | ADX V DAS High Power Remote AC Power Supply Unit Module | #REF! | 27.8 | n/a | n/a | n/a | n/a | 2.36 x 10.3 x 17.8 | 13.5 | n/a
Remote Module | ADXV-HPR-PSU-AC-50 | ADX V DAS High Power Remote AC Power Supply Unit Module (50V Output for C-Band Modules) | #REF! | TBD | n/a | n/a | n/a | n/a | 2.36 x 10.3 x 17.8 | 13.5 | n/a
Remote Module | ADXV-HPR-PSU-DC | ADX V DAS High Power Remote DC Power Supply Unit Module | #REF! | 19.36 | n/a | n/a | n/a | n/a | 2.36 x 10.3 x 17.8 | 13 | n/a
Remote Module | ADXV-HPR-PSU-DC-50 | ADX V DAS High Power Remote DC Power Supply Unit Module (50V Output for C-Band Modules) | #REF! | TBD | n/a | n/a | n/a | n/a | 2.36 x 10.3 x 17.8 | 13 | n/a
Remote Module | ADXV-HPR-ORU | ADX V DAS High Power Remote Optical Remote Unit Module | #REF! | 8.34 | n/a | n/a | n/a | n/a | 2.36 x 10.3 x 17.8 | 11.5 | n/a
Remote Module | ADXV-HPR-ORU-X | ADX V DAS High Power Remote Optical Remote Unit Module (Supports C-Band) | #REF! | 10.9 | n/a | n/a | n/a | n/a | 2.36 x 10.3 x 17.8 | 11.5 | n/a
Remote Module | ADXV-HPR-436 | ADX V DAS High Power Remote 600 MHz 43dBm Amplifier Module | #REF! | 188 | n/a | n/a | n/a | n/a | 2.75 x 10.3 x 17.8 | 19 | n/a
Remote Module | ADXV-HPR-437FN | ADX V DAS High Power Remote 700MHz Lower ABC + Upper C + Band 14 43dBm Amplifier Module | #REF! | 198 | n/a | n/a | n/a | n/a | 2.75 x 10.3 x 17.8 | 19 | n/a
Remote Module | ADXV-HPR-437F | ADX V DAS High Power Remote 700MHz Lower A/B/C + Upper C 43dBm Amplifier Module | #REF! | 195 | n/a | n/a | n/a | n/a | 2.75 x 10.3 x 17.8 | 19 | n/a
Remote Module | ADXV-HPR-43S8C | ADX V DAS High Power Remote SMR800MHz (Commercial) + Cellular 43dBm Amplifier Module | #REF! | 159.57 | n/a | n/a | n/a | n/a | 2.75 x 10.3 x 17.8 | 18.5 | n/a
Remote Module | ADXV-HPR-46P | ADX V DAS High Power Remote PCS 46dBm Amplifier Module | #REF! | 242.51 | n/a | n/a | n/a | n/a | 2.75 x 10.3 x 17.8 | 19 | n/a
Remote Module | ADXV-HPR-46A | ADX V DAS High Power Remote AWS-1 + AWS-3 46dBm Amplifier Module | #REF! | 260.62 | n/a | n/a | n/a | n/a | 2.75 x 10.3 x 17.8 | 18.5 | n/a
Remote Module | ADXV-HPR-45W | ADX V DAS High Power Remote WCS 45dBm Amplifier Module | #REF! | 269 | n/a | n/a | n/a | n/a | 2.75 x 10.3 x 17.8 | 19 | n/a
Remote Module | ADXV-HPR-43BTF | ADX V DAS Remote Unit BRS TDD 43dBm Amplifier Module, 194 MHz Bandwidth Support | #REF! | 225.66 | n/a | n/a | n/a | n/a | 2.75 x 10.3 x 17.8 | 18.5 | n/a
Remote Module | ADXV-HPR-46N77L | ADX V DAS High Power Remote C-Band 46dBm Amplifier Module (3450-3550 MHz) | #REF! | 228.3 | n/a | n/a | n/a | n/a | 2.75 x 10.3 x 17.8 | 19 | n/a
Remote Module | ADXV-HPR-46N77H | ADX V DAS High Power Remote C-Band 46dBm Amplifier Module (3700-3980 MHz) | #REF! | 228.3 | n/a | n/a | n/a | n/a | 2.75 x 10.3 x 17.8 | 19 | n/a
Remote Module | ADXV-R-CHC-U | ADX V DAS Universal Channel Combiner (700MHz, SMR800MHz + Cellular, PCS, AWS, WCS, BRS) | #REF! | n/a | n/a | n/a | 1 | n/a | 19 x 1.73 x 10.8 | 12 | n/a
Remote Module | ADXV-R-CHC-X2 | ADX V DAS Universal Channel Combiner (600MHz, 700MHz, S8C, PCS, AWS, WCS, BRS, C-Band) | #REF! | n/a | n/a | n/a | 1 | n/a | 19 x 1.73 x 11.4 | 18.5 | n/a
Remote Module | ADXV-HPR-CHC-U | ADX V DAS HPR Universal Channel Combiner (700MHz, S8C, PCS, AWS, WCS, BRS) | #REF! | n/a | n/a | n/a | n/a | n/a | 11 x 9.44 x 2.8 | 14.86 | n/a
Remote Module | ADXV-HPR-CHC-X | ADX V DAS HPR Universal Channel Combiner (600 MHz, 700MHz, S8C, PCS, AWS, WCS, BRS, CBRS) | #REF! | n/a | n/a | n/a | n/a | n/a | 11.3 x 10.3 x 2.8 | 15.2 | n/a
Remote Module | ADXV-HPR-CHC-U-LH | ADX V DAS HPR Universal Channel Combiner (700MHz, S8C, PCS, AWS, WCS, BRS, Low+High Ports) | #REF! | n/a | n/a | n/a | n/a | n/a | 11 x 9.44 x 2.8 | 15.43 | n/a
Total Head End |  |  | #REF! |  | 0 | 0 |  | n/a |  |  | 0
#REF!
ADX V DAS Optical Expansion Unit |  |  | #REF!
Remote Module | ADXV-R-OEU-8 | ADX V DAS Optical Expansion Unit (supports 8 Remote Units) | #REF! | 28 | n/a | n/a | 2 | n/a | 19 x 3.5 x 13.9 | 15.4 | n/a
Remote Module | ADXV-R-OEU-8-X | ADX V DAS Optical Expansion Unit (supports 8 Remote Units) Supports C-Band | #REF! | 28 | n/a | n/a | 2 | n/a | 19 x 3.5 x 13.9 | 15.4 | n/a
Remote Module | ADXV-R-ADP | AC/DC Adaptor for Remote Unit | #REF! | n/a | n/a | n/a | n/a | n/a | 5.8 x 3 x 1.7 | 1.8 | n/a
Total Head End |  |  | #REF! |  | 0 | 0 |  | n/a |  |  | 0
#REF!
ADX V DAS Medium Power Remote (Public Safety) |  |  | #REF!
Remote Module | ADXV-R-3378P-N4X | ADX V DAS Remote Unit 2W 700MHz/800MHz IP66 Remote Module (Public Safety) | #REF! | 60.19 | n/a | n/a | n/a | n/a | 9.85 x 15 x 6.6 | 26.5 | n/a
Remote Module | ADXV-R-3378P-U | 2W 700MHz/800MHz IP66 Remote Module (Public Safety) UL2524 | #REF! | 60.19 | n/a | n/a | n/a | n/a | 9.85 x 15 x 6.6 | 26.5 | n/a
Remote Module | ADXV-R-25VU-N4X | ADX V DAS Remote Unit 25dBm VHF/UHF IP66 Remote Module | #REF! | 66.06 | n/a | n/a | n/a | n/a | 9.85 x 15 x 6.6 | 26.5 | n/a
Remote Module | ADXV-EF-CHA-N4X | ADX V DAS IP66 enclosure for up to 2 ADXV External Filters | #REF! | n/a | n/a | n/a | 3 | n/a | 9.84 x 8.46 x 4.17 | 7 | n/a
Remote Module | ADXV-EF-7F | ADX V DAS Remote Unit External Filter to Support 700 MHz | #REF! | n/a | n/a | n/a | n/a | n/a | 6.69 x 3.94 x 2.17 | 3.5 | n/a
Remote Module | ADXV-EF-S8C | ADX V DAS Remote Unit External Filter to Support SMR800 MHz (Commercial) + Cellular | #REF! | n/a | n/a | n/a | n/a | n/a | 6.69 x 3.15 x 2.17 | 3 | n/a
Remote Module | ADXV-BPF-7PS8DL | ADX V DAS Remote Unit Band Pass Filter to Support 700 & 800 MHz Public Safety | #REF! | n/a | n/a | n/a | n/a | n/a | 7 x 5.75 x 2.55 | 5.42 | n/a
Remote Module | ADXV-BPF-7PDL | ADX V DAS Remote Unit Band Pass Filter to Support 700 MHz Public Safety | #REF! | n/a | n/a | n/a | n/a | n/a | 7 x 2.55 x 2.55 | 2.5 | n/a
Remote Module | ADXV-BPF-S8DL | ADX V DAS Remote Unit Band Pass Filter to Support 800 MHz Public Safety | #REF! | n/a | n/a | n/a | n/a | n/a | 7 x 2.55 x 2.55 | 2.5 | n/a
Total Remote Module |  |  | #REF! |  | 0 | 0 |  | n/a |  |  | 0
#REF!